## Sheet1
Parts list for 'Odor Gun', design by Matt Wachowiak, Shawn Burton, Mia Wipfel, Michael Guo, Tom Rust.
| Part Description | Supplier | Part ID | Price Per | # Used | Cost | Notes | Link
Electronics Enclosure | Electronics Enclosure | Takashi Electronics or Misumi | MS199-26-28G | 125.12 | 1 | 125.12 | Available cheapest directly from Takachi (x.lim@takachi-el.co.jp) or Misumi Electronics (prices here) | https://us.misumi-ec.com/vona2/detail/222000227210/?PNSearch=MS199-26-28G&HissuCode=MS199-26-28G&searchFlow=suggest2products&Keyword=MS199-26-28G
| Accessory Mounting Plate | Takashi Electronics or Misumi | MSC26-28 | 27.09 | 1 | 27.09 |  | https://us.misumi-ec.com/vona2/detail/222000224688/?PNSearch=MSC26-28&HissuCode=MSC26-28&searchFlow=suggest2products&Keyword=MSC26-28
| Accessory Handle | Takashi Electronics or Misumi | MY-197G | 24.58 | 1 | 24.58 |  | https://us.misumi-ec.com/vona2/detail/222000224655/?PNSearch=MY-197G&HissuCode=MY-197G&searchFlow=suggest2products&Keyword=MY-197G
| Accessory Rack Mounting Brackets | Takashi Electronics or Misumi | MSM-177G | 7.67 | 1 | 7.67 |  | https://us.misumi-ec.com/vona2/detail/222000223698/?PNSearch=MSM-177G&HissuCode=MSM-177G&searchFlow=suggest2products&Keyword=MSM-177G
Nozzle Scaffold (base and mixer holder) | 2 part Scaffold |  | Custom |  | 1 | 0
| 2/56 Screws (undercut heads) | McMaster-Carr | 91099A104 | 0.037 | 36 | 1.332 | these are for phillips. Slotted binding screws have a slightly better shape. | https://www.mcmaster.com/catalog/126/3227
| 10-32 Set Screw, 0.75" long | McMaster-Carr | 92311A431 | 0.11 | 4 | 0.44 |  | https://www.mcmaster.com/catalog/126/3243
| 1/4 in Magnet 1/4" tall | K&J Magnetics, Inc. | D44 | 0.56 | 3 | 1.68 |  | https://www.kjmagnetics.com/proddetail.asp?prod=D44
| 1/4 in Magnet 1/8" tall | K&J Magnetics, Inc. | D42 | 0.34 | 3 | 1.02 |  | https://www.kjmagnetics.com/proddetail.asp?prod=D42
| Essentra V-1000 U-type fastener | Digi-Key | RPC1280-ND | 0.68 | 36 | 24.48 |  | https://www.digikey.com/en/content-search?t=RPC1280-ND&nc=1
| Central air delivery tube 1"OD, 0.75" ID, 6" long | McMaster-Carr | 9173K514 | 2.96 | 1 | 2.96 |  | https://www.mcmaster.com/catalog/126/126
| fitting for central tube, 3/4 NPTF | McMaster-Carr | 5346K47 | 14 | 1 | 14 |  | https://www.mcmaster.com/catalog/126/344
| BEX mini-eductor, 1/4" w. 0.59 orifice (optional) | US Plastics | 62386 | 12.84 | 1 | 12.84 | red color. Other sizes are suboptimal. | https://www.usplastic.com/catalog/item.aspx?itemid=103541
Disposable | Mixer tips, luer end , 0.187: diam | Gluegun.com | Nordson 7701424 | 0.5 |  |  | price for case of 5000 | https://www.gluegun.com/products/nordson-tah-190-series-spiral-mixer-nozzle?variant=278994464
| dispensing tip, 15 ga., 1", 90 deg. Bend. | Jensen Global | JG15-1.0X-90 | 0.5 |  |  | price for 50. cheaper if buy in bulk | https://www.jensentools.com/jensen-global-jg15-1-0x-90-15-gauge-1-0-it-series-90-degrees-angled-dispensing-tip-50-box/p/671so1090
Air delivery | #10-32 to 1/16" ID barbed connector (5 pack) | Clippard | CT2-PKG | 4.24 | 8 | 33.92 |  | https://clippard.com/part/CT2-PKG
| Polyurethane ribbon hose, 1/16" ID, 50 ft | Clippard | URH8-0402-02T-050 | 115.92 | 1 | 115.92 |  | https://clippard.com/part/URH8-0402-02T-050
Valves and controllers | 2-way NC Valve, manifold mount | Clippard | EW-2M-24-L | 29.13 | 12 | 349.56 |  | https://clippard.com/part/EW-2M-24-L
| 2-sided valve manifold | Clippard | 15482-12 | 22.38 | 1 | 22.38 |  | https://clippard.com/part/15482-12
| Push-quick builkhead union, 1/4" | Clippard | PQ-BU08-PKG | 17.54 | 1 | 17.54 |  | https://clippard.com/part/PQ-BU08-PKG
| Push-quick Male Compact Connector, 1/4", 1/8"NPT | Clippard | PQ-CC08P-PKG | 12.77 | 1 | 12.77 |  | https://clippard.com/part/PQ-CC08P-PKG
| Valve Driver Chip (Micrel MIC2981/82YN) | Mouser | 998-MIC2981/82YN | 2.01 | 2 | 4.02 |  | https://www.mouser.com/ProductDetail/Microchip-Technology-Micrel/MIC2981-82YN?qs=%2Fha2pyFadugs5eyBU5YYNcFt7pUOFGNosIUD7jMh0U1tqMoU2LTu%252BQ%3D%3D
| Terminal Board for driver connections | Winford Engineering | DTA3520-DIN | 9.5 | 2 | 19 |  | https://www.winford.com/products/dta35.php
| DAQ device (NI USB-6001) | National Instruments | 782604-01 | 204 | 1 | 204 |  | https://www.ni.com/en-us/shop/select/multifunction-io-device?skuId=35709
| 6 ft figure 8 style power cord spt-2 | Jameco | 189587 | 2.95 | 1 | 2.95 |  | https://www.jameco.com/shop/ProductDisplay?catalogId=10001&langId=-1&storeId=10001&productId=189587#
| 24V power adapter for valves | Jameco | 1940547 | 12.95 | 1 | 12.95 |  | https://www.jameco.com/shop/ProductDisplay?catalogId=10001&langId=-1&storeId=10001&productId=1940547
| Panel mount 2.1mm DC barrel jack | Adafruit | 610 | 2.95 | 1 | 2.95 |  | https://www.adafruit.com/product/610
| Panel mount extension usb cable - micro | Adafruit | 3258 | 4.95 | 1 | 4.95 |  | https://www.adafruit.com/product/3258
| 1/8" NPT PTFE Plug | McMaster Carr | 45375k252 | 20.11 | 1 | 20.11 |  | https://www.mcmaster.com/catalog/126/135
Airflow control | Flowtube with needle valve, 0 - 10 L/min | Aalborg | PMR1-012676 | 115 | 1 | 115 | this includes part #s 014-02-ST-VN (scale), P16A4-BA0 (tube), VCH-AB (needle valve) | http://www.aalborg.com/index.php/main_page/product_info/products_id/151836
| Adjustable Pressure Regulator | Clippard | mar-1-2 | 17.38 | 1 | 17.38 |  | https://clippard.com/part/MAR-1-2
| threaded port series coupling assembly | twintec / AAP Automation, Inc. | 2BH-12 | 63.59 | 1 | 63.59 |  | https://order-online.aapautomation.com/default.aspx?page=item%20detail&itemcode=2BH-12
Digital pressure gauge (fancy) | two-color Digital Display Pressure Sensor | Keyence | AP-34K |  |  |  |  | https://www.keyence.com/products/process/pressure/ap-30/models/ap-34k/?search_dl=1
| panel-mounting holder set for above | Keyence | op-31357, op-32908, op-42192 |  |  |  |  | https://www.keyence.com/products/process/pressure/ap-40/models/op-31357/?search_dl=1
alternative analog gauge (clippard pg-15-30p $7.14)
1014.152